Conduct a structured research and gap-analysis effort to position Delta as an IEEE 2030.7 / 2030.8 compliant microgrid integrator across US TSO/RTO/utility jurisdictions, and to define a utility-grade metering and revenue CT/PT specification package. Work geographically the East Coast (PJM, NYISO, ISO-NE, MISO-East, SERC).
Utilities: ConEd, National Grid, Eversource, Duke Energy, Dominion, DTE, ComEd, PSE&G, BGE, PPL.

IEEE 2030.7 / 2030.8 Gap Analysis

- Standard baseline review : Read & summarize IEEE 2030.7 / 2030.8 — focus on dispatch, transition, protection, EMS functions.

- Regional interconnection rules mapping: Map PJM, NYISO, ISO-NE, MISO interconnection manuals + IEEE 1547-2018 adoption per state PUC.

- Utility-specific microgrid requirements: Collect microgrid controller specs from ConEd, Eversource, Duke, Dominion, DTE.

- Test framework gap analysis: Compare Delta's existing test framework (Taipower-based) vs. 2030.8 test cases for East Coast utilities.

- Certification / lab pathway: Identify East Coast certification labs (KEMA, Intertek-NJ, PowerCert) and cost/timeline.

- Stakeholder interviews: Interview 2–3 East Coast utility engineers or IEEE WG members.

- Consolidated gap report: Draft East Coast section (gaps, risks, recommendations).

- Final merged report + executive summary: Co-author final compliance gap analysis report (joint deliverable).

Utility Metering & Revenue-Grade CT/PT Specification (Research)

- Standards review : ANSI C12.1/C12.20 (meters), IEEE C57.13 (CT/PT), IEC 61869. Summarize accuracy classes (0.2S / 0.5S).

- Regional metering rules: Document net-metering, NEM 3.0 equivalents, and billing structures for PJM/NYISO/ISO-NE/MISO states

- Utility metering spec collection: Collect revenue meter specs from ConEd, Eversource, Duke, Dominion, DTE.

- CT/PT selection matrix : Build CT/PT selection matrix for MV (15/35 kV) East Coast applications — burden, accuracy, ratio.

- Communication & SCADA: Define DNP3 / Modbus / IEC 61850 metering data flows for East Coast utility integration.

- Vendor benchmarking: Benchmark Itron, Landis+Gyr, Schneider, GE meters used on East Coast.

- Draft Delta metering spec package: LEAD — write the metering specification document (template + content).

- Final spec package + revenue-leakage checklist: Final consolidation, executive review-ready.

Deliverables

S-UI-02: Consolidated Compliance Gap Analysis Report (East + West sections + executive summary).

S-UI-03: Utility Metering & CT/PT Specification Package

Region-by-region utility requirement matrix

Stakeholder interview notes and reference library (standards, utility manuals).