# Internship Presentation Cheat Sheet

This document contains speaker notes for both presentations. Speak naturally; each slide should take about 1 minute.

## Presentation 1: IEEE 2030.7/2030.8 Compliance Gap Analysis

### Slide 1 - Title

Introduce yourself, internship organization, and explain that the project evaluated microgrid controller compliance with IEEE 2030.7 and IEEE 2030.8 for East Coast utilities.

### Slide 2 - Objectives

State the goal: compare utility requirements, identify compliance gaps, and recommend improvements for future deployments.

### Slide 3 - Standards

Explain IEEE 2030.7 defines controller functions while IEEE 2030.8 defines testing and validation. Mention interoperability and reliability.

### Slide 4 - Regional Analysis

Briefly discuss PJM, NYISO, ISO-NE, and MISO-East. Mention each utility has different interconnection and operational expectations.

### Slide 5 - Gap Analysis

Highlight missing controller functions, testing procedures, documentation, communications, and cybersecurity requirements.

### Slide 6 - Testing

Describe Controller-Hardware-in-the-Loop (CHIL) testing. Explain how the controller is validated before field deployment.

### Slide 7 - Recommendations

Summarize the proposed roadmap: standard architecture, standardized interfaces, utility profiles, and improved testing.

### Slide 8 - Internship Contributions

Explain your role: standards review, utility comparison, technical documentation, and compliance analysis.

### Slide 9 - Conclusion

Conclude that IEEE compliance improves reliability, interoperability, and utility acceptance while reducing commissioning risks.

## Presentation 2: Utility Metering & CT/PT Specification

### Slide 1 - Title

Introduce the metering specification project and its importance for utility interconnection.

### Slide 2 - Objectives

Explain accurate revenue metering, CT/PT selection, and SCADA integration.

### Slide 3 - Standards

Discuss ANSI C12.20, IEEE C57.13, IEC 61869 and why accuracy classes are important.

### Slide 4 - Utility Requirements

Mention differences among utilities and why equipment must satisfy local requirements.

### Slide 5 - CT/PT Selection

Explain CT ratio, PT ratio, burden, accuracy class, and why proper sizing is essential.

### Slide 6 - Communications

Describe DNP3, Modbus, IEC 61850 and integration with SCADA/EMS.

### Slide 7 - Vendor Comparison

Briefly compare major manufacturers and selection criteria.

### Slide 8 - Commissioning

Explain installation checks, polarity tests, ratio verification, wiring inspection, and functional testing.

### Slide 9 - Conclusion

Summarize that correct metering ensures billing accuracy, protection coordination, regulatory compliance, and reliable grid operation.

## Possible Questions & Quick Answers

Q: Why IEEE 2030.8?
A: It validates that the controller performs correctly before field deployment.

Q: Why CHIL testing?
A: It reduces field risk and verifies real-time controller behavior.

Q: Why CT/PT accuracy?
A: Accurate measurements are essential for billing and protection.

Q: Why DNP3 or IEC 61850?
A: They provide secure and interoperable communication between field devices and SCADA.